## Slide 1: 2025 Data Run Overview and Analysis Infrastructure
December 16, 2025
Wolfgang Schreyer
Co-Nab-oration meeting 2025
Notes: Accessing Title Slide Options The standard ORNL presentation template includes five branded title slide layouts:
  Title | Standard. The preferred layout for lab-wide and general presentations. Features a default aerial photograph of the lab.
  Title | Custom Image. Allows replacement of the default background with a custom full-slide image (16:9 or 4:3 landscape format).
  Title | Custom Portrait Image. Supports inclusion of a custom 4:3 portrait image positioned next to the introductory text.
  Title | Custom Landscape Image. Supports inclusion of a custom 16:9 landscape image positioned next to the introductory text.
  Title | Text Only. Offers additional space for longer titles and multiple presenters.
Additional Lab-approved title slides specific to directorates and user facilities are available in PowerPoint under the following folders: Custom Title Slides and User Facility Templates, located in Presentation Templates.
Custom Title Slide Guidelines
  Image Rights. Any custom images, graphics, or photography must be owned by ORNL or used with documented permission from the original creator or source.
  Appropriate Image Use. Select images that work well with the layout. Ensure the focal point of the image is not obscured by the title text and white overlay box.
  Relevance and Impact. Visuals are a key element of effective communication. Whenever possible, use imagery that enhances the message of your presentation and reflects ORNL’s mission and values.
  Quality and Clarity. Use high-resolution images for clarity on large screens. Avoid overly complex or dark images that may conflict with the title text.
  Text-Only Option. If no appropriate or approved imagery is available, or if imagery is not permitted for the subject matter, the Title | Text Only layout provides a clean, professional alternative.
Learn more about ORNL presentations
  https://ornl.sharepoint.com/sites/branding/SitePages/presentations.aspx

## Slide 2: 2025 systematics data overview
Study | Varied parameters | Wanted results
Proton data | Magnetic field/impact angle, HV, bias voltages, SNS low power, beam choppers | Detection efficiencies
Calibration data | Source position/orientation, magnetic field, HV, bias voltage | Linearity/stability of electron energy reconstruction/timing
Background measurements | SNS on/off/low power, shutters open/closed, magnetic field, HV, beam choppers, neutron monitor | Isolate sources of background
DAQ filter parameter scans | Thresholds, rise time, bias voltage | Optimize trigger efficiency/noise rejection
Timing synchronization | Clock frequency, hardware/wiring | Synchronization offset/stability
Pulser scans | Pulser amplitude/attenuation, HV | Trigger efficiency, optimal pulser parameters
ExB electrode tests | ExB voltage, detector bias voltages | Minimum required ExB voltage
Coincidence logic | Coincidence timing/energy windows, singles prescaling, “e-trigger” logic, neighbor readout | Optimize efficiency vs noise rejection, is prescaling/neighbor readout useful?
Alpha studies | Source position/orientation, magnetic field, HV | Detector dead layer, high-energy response
Temperature scans | Detector temperatures | Drift of calibration/timing, optimal temperature
Detector stability | None, over multiple days | Detector/calibration/pulser stability
Electronic noise reduction | Pulser wiring/attenuation, LDET grounding/bias wiring/preamp power/temp sensors | Reduced electronic noise, improved energy resolution
2025 Nab systematic studies list

## Slide 3: Data infrastructure
Fast-DAQ
DAQ computer
Cache SSD
Triggers, Events
& Waveforms
Replay PC w/ HDD RAID
“Replay”
to HDF5, blinding
10Gb/s
PostgreSQL database
Slowcontrols& magnet computers
Instru-ments
GATech cluster
Grafana frontend
pyNab analysis
Globus
OURRstore
Tape archive
Online analysis
ORNL Physics cluster
Blinded data
Un-blinded data
2x 10Gb/s

## Slide 4: Possible issues and suggestions for data infrastructure
No integration of slow-controls data with fast-DAQ data
  Currently: access to slow-controls data via Grafana web interface
  Maintain copy of PostgreSQL database on GATech cluster?
  Provide per-run slow-controls data as HDF5 file?
Blinding sufficient?
  90% of coincidences and related triggers removed from data taken with shutter open
What are good metrics to monitor health of detectors/DAQ/data in online analysis?
  Dropped waveforms/triggers?
  Per-pixel pulser amplitude above threshold, amplitude drift, rise time?
  Chassis synchronization
pyNab not maintained
No consistent waveform filtering
  Centralized (automated?) processing of waveforms with various filters?
  Primarily provide results on GATech? (and save lots of storage)